Attachment 3, Page 1

LOCK CHANGE / SECURING SERVICE REQUIREMENTS 	AND COST SCHEDULE

The Lock Change/Securing Service cost schedule allows a “one-time securing fee” which is included in the overall maximum cost schedule.  Mortgagees may secure property without prior approval if the cost of securing does not exceed the cost allowable for the “one-time securing fee”.  This should accelerate the securing of properties and reduce opportunities of vandalism.  If the cost of securing property exceeds the cost allowable, written approval from the M&M contractor is required for the costs in excess of the limit.

Windows and doors must be secured to prevent unauthorized entry and to protect against weather damage.  Broken glass should be replaced, unless the opening is to be boarded.  In either case, broken glass must be removed.  The locks on the front and rear entry doors must be replaced with master locks with identical key codes for both doors.  Any other secondary entryway that provides immediate access to the living area, attached garage or basement area must be secured.  Doors must not be braced or nailed shut unless otherwise specified below or the mortgagee will be held accountable for any damage caused by these practices.  Sliding glass doors must be double locked.  Detached garage doors and outbuildings must be secured with a padlock and hasp, and entrance gates to fences surrounding pools are to be secured with a padlock and chain when no lock is present.  Two keys to all locks must be sent to the M&M contractor with Part A, Form-27011.  Failure to conform to the above lock installation instructions will result in disallowing that portion of the claim for reimbursement.  When applicable, unplug automatic garage door openers and secure garage doors.  Garage doors should be left in such a condition as to allow for opening and closing without the use of the automatic garage door opener.  Leave the remote key(s)/transmitter(s) in a kitchen counter drawer.

In some instances, temporary measures will be required to protect the interior of the property from damage caused by leaking roofs.  These temporary repairs in the form of patchwork/covering or replacing loose shingles should be performed promptly.  Mortgagees should document the temporary measures taken to protect the property.

If the re-securing of a property becomes necessary, the mortgagee must obtain prior approval to expend the additional funds to re-secure the property.

The mortgagee will take “before” and “after” photographs of all areas secured under the “one-time securing fee”.  All photographs must be dated.  A maximum of eight photographs will be allowed for reimbursement.  The photographs must be maintained in the mortgagee’s claim review file.

Fees for securing or winterizing swimming pools are NOT included in the MAXIMUM allowable limit per property.  The costs for permits to drain pools/spas by local governments are included in the maximum limit and will be reimbursed based on the actual cost incurred.  Prior written approval from the M&M contractor is required for securing or winterizing pools unless noted otherwise below.  Before and after photographs are required.

Attachment 3, Page 2

LOCK CHANGE / SECURING SERVICE COST SCHEDULE

| Philadelphia HOC | One-Time Securing Fee | In-Ground Pools | Above-Ground Pools | Hot-Tub, Jacuzzi, Spa |
| --- | --- | --- | --- | --- |
| Connecticut | $250 | $1.65/sq.ft.; $750 max. | $100 | $50 |
| Delaware | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| District of Columbia | $325 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Maine | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Maryland | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Massachusetts | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Michigan | $325 | $1.65/sq.ft., $750 max. | $100 | $50 |
| New Hampshire | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| New Jersey | $325 | $1.65/sq.ft., $750 max. | $100 | $50 |
| New York | $325 | $1.65/sq.ft., $750 max. | N/A | N/A |
| Ohio | $325 | $1.65/sq.ft, $750 max. | $100 | $50 |
| Pennsylvania | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Rhode Island | $325 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Vermont | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Virginia | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| West Virginia | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |

Attachment 3, Page 3

LOCK CHANGE / SECURING SERVICE COST SCHEDULE

| Atlanta HOC | One-Time Securing Fee | In-Ground Pools | Above-Ground Pools | Hot-Tub, Jacuzzi, Spa |
| --- | --- | --- | --- | --- |
| Alabama | $250 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| Caribbean | $250 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| Florida | $250 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| Georgia | $250 | $2.05/sq.ft, $1,200 max. | $200 | $50 |
| Illinois | $325 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| Indiana | $250 | $2.05/sq.ft, $1,200 max. | $200 | $50 |
| Kentucky | $250 | $2.05/sq.ft, $1,200 max. | $200 | $50 |
| Mississippi | $300 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| North Carolina | $250 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| South Carolina | $250 | $2.05/sq.ft., $1,200 max. | $200 | $50 |
| Tennessee | $250 | $2.05/sq.ft, $1,200 max. | $200 | $50 |

Attachment 3, Page 4

LOCK CHANGE / SECURING SERVICE COST SCHEDULE

| Denver HOC | One-Time Securing Fee | In-Ground Pools | Above-Ground Pools | Hot-Tub, Jacuzzi, Spa |
| --- | --- | --- | --- | --- |
| Arkansas | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Colorado | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Iowa | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Kansas | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Louisiana | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Minnesota | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Missouri | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Montana | $250 | $1.65/sq.ft. $750 max. | $100 | $50 |
| Nebraska | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| New Mexico | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| North Dakota | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Oklahoma | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| South Dakota | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Texas | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Utah | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Wisconsin | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Wyoming | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |

Attachment 3, Page 5

LOCK CHANGE / SECURING SERVICE COST SCHEDULE

| Santa Ana HOC | One-Time Securing Fee | In-Ground Pools | Above-Ground Pools | Hot-Tub, Jacuzzi, Spa |
| --- | --- | --- | --- | --- |
| Alaska | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Arizona | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| California | $325 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Hawaii/Pacific Islands | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Idaho | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Nevada | $275 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Oregon | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |
| Washington | $250 | $1.65/sq.ft., $750 max. | $100 | $50 |

Attachment 3, Page 6

LOCAL VARIATION FROM GENERAL REQUIREMENTS

# NORTHEAST

City / State

# Maine / New Hampshire / Vermont / Rhode Island

Variation From General Requirement

Install Kwikset Master Lock (Number 400T, US-3PD67767KD) on front and rear entry doors.  Install Kwikset Deadbolt Lock or equivalent, key coded to 67767 (3/4” solid bolt) on main entry door if door has an existing dead bolt lock.  Secondary doors on 1st floor only should be secured with slide bolt.  Use Master Padlock A389 or equivalent on garage and outbuildings.

City / State

# Connecticut / Massachusetts

Variation From General Requirement

Install Kwikset Master Lock (Number 400T, US-3 PD67767KD) on front and rear entry doors.  Secondary doors on lst floor only should be secured with slide bolt.  Use Master Padlock A389 or equivalent on garage and outbuildings.

City / State

# Camden, New Jersey

Variation From General Requirement

Install Master Padlock and Hasp with Key A389 on front and rear entry doors.  On other secondary entry doors with existing deadbolt locks, rekey to lock type 44535.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

City / State

# New Jersey

Variation From General Requirement

Attachment 3, Page 7

Install a Kwikset No. 400T, key code 44535 or equivalent on front and rear entry doors.  Install Kwikset Deadbolt Lock or equivalent, key coded to 67767 (3/4” solid bolt) on main entry door if door has an existing dead bolt lock.  Secondary doors on 1st floor only should be secured with slide bolt.  Use Padlock and Hasp key coded to #17 on garage and outbuildings.

City / State

# Albany, New York

Variation From General Requirement

Install a Kwikset No. 400T, key code 44535 or equivalent on front and rear entry doors.  Install Kwikset Deadbolt Lock or equivalent, key coded to 67767 (3/4” solid bolt) on main entry door if door has an existing dead bolt lock.  Secondary doors on 1st floor only should be secured with slide bolt.  Use Master Padlock A389 or equivalent on garage and outbuildings.

City / State

# Buffalo, New York

Variation From General Requirement

Install a Kwikset No. 400T, key code 44535 or equivalent on front and rear entry doors.  Each living unit within a multiple dwelling must be made accessible by the same entry key, either by rekeying or new deadbolt installation.

Deadbolt locks must be installed above existing entry handle sets.  Do not install deadbolt locks within existing handle set bore.  Where deadbolts are installed internal strike components from locking must be removed to allow a means to close the door and prevent double locking.

In-ground pools must be partially drained, adequately shocked with concentrated chlorine and covered with an all year mesh safety cover designed to prevent pool entry by children and animals.  Requires prior approval.

Ensure pool areas are enclosed with adequate fencing to meet New York State and local requirements.  All fence openings must be secured with padlock and/or chain padlock.  All pool equipment including water lines, pumps, filters, heaters, etc., must be completely drained to prevent freeze damage.  Prior approval not required.

All above ground pools must be completely dismantled, removed and disposed of properly.

Attachment 3, Page 8

City / State

# New York

Variation From General Requirement

Install a Kwikset No. 400T, key code 44535 or equivalent on front and rear entry doors.  Install a Kwikset Deadbolt Lock or equivalent, key coded to 44535 (3/4” solid bolt) on main entry door if door has an existing dead bolt lock.  Secondary doors on 1st floor only should be secured with slide bolt.  Use Master Padlock A389 or equivalent on garage and outbuildings.

In-ground pools may be covered with plywood (5/8").  Pool filtering equipment shall be drained and stored safely with other pool accessories found on the property.  Under no circumstances shall chicken wire be used to secure a pool.  All above ground pools, regardless of condition shall be dismantled, removed and disposed of properly.  Mortgagees do not need prior approval to secure pools.

MID-ATLANTIC

City / State

# District of Columbia

Variation From General Requirement

Install a Master Lock key code to 44535 on front and rear entry doors.  Install Kwikset Deadbolt Lock or equivalent, key coded to 44535 (3/4” solid bolt) on main entry door if door has an existing dead bolt lock.  If existing padlock and hasp is on front or rear door, replace with Master Padlock A389.

Mortgagees may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior (i.e. existing lock is not functional).  If you have questions about when to employ bracing, contact the M&M contractor.

Bracing - Cut a 2 x 4 inch brace board to fit between the interior doorknob and a cleat board nailed into the floor at a 45-degree angle.

Mortgagees must obtain prior approval from the M&M contractor prior to re-securing a property.

Swimming Pools:

Replace any damaged or missing boards or sections of fence.  Remove all trash from interior of pool.  As necessary, build frame & cover pool with appropriate decking or wire mesh in accordance and in compliance with state & local codes.  Mortgagees do not need prior approval to secure pools.

Attachment 3, Page 9

City / State

# Maryland

Variation From General Requirement

Locks for each entrance door, rear door, including all doors on 1st floor and basement should be changed using a standard lockset.  Use a Kwikset Master Lock key code 67767.  Where a lockset is not practical, use Master Padlock A389.

Mortgagees may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior.  If you have questions about when to employ bracing contact the M&M contractor.

Swimming Pools:

Replace any damaged or missing boards or sections of fence.  Remove all trash from interior of pool.  As necessary, build frame and cover pool with appropriate decking or wire mesh in accordance and in compliance with state and local codes.  Mortgagees do not need prior approval to secure pools.

Mortgagees must obtain prior approval from the M&M contractor prior to re-securing a property.

City / State

# Pennsylvania

Variation From General Requirement

Install a hasp or eyebolt using #5 Master lock key code A389 on front and rear entry doors.  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Mortgagees may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior.  If you have questions about when to employ bracing contact the M&M contractor.

Bracing - Cut a 2x4 inch brace board to fit between the interior doorknob and a cleat board nailed into the floor at a 45-degree angle.

Mortgagees must obtain prior approval from the M&M contractor prior to re-securing a property.

Swimming Pools:

Replace any damaged or missing boards or sections of fence.  Remove all trash from interior of pool.  As necessary, build frame and cover pool with appropriate decking or wire mesh in

Attachment 3, Page 10

accordance and in compliance with State and local codes.  Mortgagees do not need prior approval to secure pools.

City / State

# Virginia

Variation From General Requirement

Install a Master Lock key code to 44535 on front and rear entry doors.  On other secondary entry doors with existing deadbolt locks, rekey to lock type 44535.  Where a lockset is not practical, use Master Padlock A389.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Mortagees may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior.  If you have questions about when to employ bracing contact the M&M contractor.

Bracing - Cut a 2x4 inch brace board to fit between the interior doorknob and a cleat board nailed into the floor at a 45-degree angle.

Mortgagees must obtain prior approval from the M&M contractor prior to re-securing a property.

Swimming Pools:

Replace any damaged or missing boards or sections of fence.  Remove all trash from interior of pool.  As necessary, build frame and cover pool with appropriate decking or wire mesh in accordance and in compliance with State and local codes.  Mortgagees do not need prior approval to secure pools.

City / State

# West Virginia

Variation From General Requirement

Install a hasp (or eyebolt where appropriate) using #5 Master (brand name) lock or other brand name which is comparable (keyed to Master key code A389) or use Kwikset lock set key code 67767 on front and rear entry doors.  On other secondary entry doors with existing deadbolt locks, rekey to lock type #67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.  Mortgagee may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior.  If you have questions in connection with when to employ bracing contact the M&M contractor.

Bracing - Cut a 2x4 inch brace board to fit between the interior doorknob and a cleat board nailed into the floor at a 45-degree angle.

Attachment 3, Page 11

When resecuring properties is necessary because of vandalism, after the first securing, mortgagees must seek approval to expend additional funds to resecure the property.

Swimming Pools:

Replace any damaged or missing boards or sections of fence.  Remove all trash from interior of pool.  As necessary, build frame and cover pool with appropriate decking or wire mesh in accordance and in compliance with state and local codes.  Mortgagees do not need prior approval to secure pools.

MID-WEST STATES (in Philadelphia and Atlanta Homeownership Centers)

City / State

# Illinois

Variation From General Requirements

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Master Padlock and Hasp (A389).  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Swimming Pools:  Secure to local code.

City / State

# Indiana

Variation From General Requirement

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Master Padlock and Hasp (A389).  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Swimming Pools:  Drain in ground pools to 4 ft. in deep end of pool.  Use 5 gallons of chlorine before pumping out pool.  Use 2.5 gallons of chlorine after pumping to 4 ft. depth.

Frame pool using 2” x 6”'s, 48 inches apart.  Use 1”, 2” or 3” x 4” hex netting to cover pool.  Seams should be covered with 1” wood strips for securing.  Call the M&M contractor for instructions on securing above ground pools.

Attachment 3, Page 12

City / State

# Michigan

Variation From General Requirement

Use padlock and hasps only(Master lock key code A389).  Remove existing knob locks on prime entry doors.  If no door exists, use plywood door with padlock and hasp.  Bracing is allowed only with prior written approval in accordance with the diagrams on pages 16 and 17 of attachment 3.

City / State

# Ohio

Variation From General Requirement

Install a Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Master Padlock and Hasp (A389).  On other secondary entry doors with existing deadbolt

locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.  Resecuring of vandalized properties may be done without prior approval.

Mortgagees may use bracing to secure other doors leading to the exterior as needed.  Specifically, bracing should be used only when exterior doors cannot be otherwise secured from the interior.  If you have questions about when to employ bracing contact the M&M contractor.

Bracing - Cut a 2x4 inch brace board to fit between the interior doorknob and a cleat board nailed into the floor at a 45-degree angle.

SOUTHEAST

City / State

# Alabama

Variation From General Requirement

Homeowners' keys must be provided to the local M&M contractor.

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Padlock and Hasp (Master No. A-389).  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Attachment 3, Page 13

Swimming Pools:

Secure in-ground pools.  Secure above ground pool / Jacuzzi / hot tub.

City / State

Caribbean / Florida / Georgia / Kentucky / Mississippi / North Carolina / Tennessee (outside of Knoxville)

Variation From General Requirement

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Padlock and Hasp (Master No. A-389).  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Swimming Pools:

Secure in-ground pools. See pages 18 and 19 of attachment 3 for instructions.

Spas:

Secure above ground pool / Jacuzzi / hot tub.  Prior approval not required

City / State

South Carolina

Variation From General Requirement

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Padlock and Hasp (Master No. A389).  On other secondary entry doors with existing deadbolt locks, rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

Swimming Pools:

Secure in-ground Pools.  See pages 18 and 19 of attachment 3 for instructions.

Spas:

Secure Above ground pool / Jacuzzi / hot tub.  Prior approval not required.

Attachment 3, Page 14

City / State

# Knoxville, Tennessee

Variation From General Requirement

Install a Master Kwikset No. 400T, US-3, PK67767KD on front and rear entry doors.  Where a lockset is not practical, use Padlock and Hasp (Master No. A389).  On other secondary entry doors with existing deadbolt locks rekey to lock type 67767.  Install slide bolt on any remaining secondary entry doors on the 1st floor.

If the resecuring of a property becomes necessary, the property should be secured as soon as possible after discovery without prior approval.

Homeowners' keys must be provided to the local M&M contractor.

Swimming Pools:

Secure in-ground Pools. See pages 18 and 19 for instructions.

Spas:

Secure Above Ground Pool / Jacuzzi / Hot Tub.  Prior approval not required.

PLAINS/SOUTHWEST/ROCKY MOUNTAIN STATES (Denver Homeownership Center)

##### City / State

Arkansas / Colorado / Iowa / Kansas / Louisiana / Minnesota / Missouri / Montana / Nebraska / New Mexico / North Dakota / Oklahoma / South Dakota / Texas / Utah / Wisconsin / Wyoming

Variation From General Requirement

Install a Kwikset No. 400T, key code 44535 or equivalent on front and rear entry doors.  Provide keys to the M&M contractor.  Replace cylinder in lock.  If necessary, replace door lockset in the existing bore.  If other doors are secure through being locked or bolted, even if keys are not available, do no other securing.  Do not use a slide installation, brace, or any other securing method, which may damage the woodwork or door.  The mortgagee will be held accountable for any damage caused by incorrect securing.  Garage and outbuildings should be secured through use of padlock and hasps unless a cylinder lock with key available is in place; do not rekey.

Swimming Pools -

Do not drain in-ground pools.  Add 2 gallons of household bleach (e.g. Clorox or Purex) or chlorine to pool. A cover must be installed to prevent access.  Pool cover must be constructed with 6x6 wire mesh and 6 mil visqueen or polyurethane over 2 by 6 at 16 O.C.  Cover must be capable of supporting at least 50 pounds.  Fence doors/gates must be padlocked.  See page 20 of attachment 3 for diagram.

Attachment 3, Page 15

WEST

City / State

# Arizona / California / Hawaii / Nevada / Other Pacific Islands

Variation From General Requirement

Replace front and rear door lock with new Kwikset or equivalent lock.  If other exterior doors cannot be secured with existing hardware, install a 4-inch heavy-duty barrel bolt.  Garages and outbuildings are to be secured by installing a hasp lock and securing it with a key operated padlock.  Turn off all utilities.  Contact utility companies to terminate service.

Swimming Pools:

Pools must be secured within 24 hours of discovery of the pool.  Comply with local laws and ordinances.  The costs for permits to drain pools/spas by local governments are included in the maximum limit and will be reimbursed based on the actual cost incurred.

Prior approval is not required to drain / secure swimming pools.

Type of Service							Allowable Cost

Pool Draining									$125

Pool and Spa Draining							$150

Spa Only									$  50

Lock Gates to Pool w/Padlock and Hasp					$  20

City / State

# Alaska / Idaho / Oregon / Washington

Variation From General Requirement

Replace front and rear door lock with new Kwikset or equivalent lock.  If other doors cannot be secured with existing hardware, install a 4 inch heavy-duty barrel bolt.  Garages and outbuildings are to be secured by installing a hasp lock and securing it with a key operated padlock.